## Slide 1
STERILIZATION - UNIT
AUTOCLAVE
 Chowdhury Raihan Uddin
 Nazib Eadin
 Raad Shahmat Haque
 Shuhail Ragib

## Slide 2
Insulation
Temperature Controller
Pressure Relief Valve
High Pressure Alarm System
Safety Requirements
Structural Integrity & Fatigue Assessment as per the ASME
Approx. 10,000
Design Cycles
SCL Name | SCL Location | Pl, MPa |  | Pl+Pb+Q, MPa |  | Remark as per ASME
 |  | Actual | Allowable | Actual | Allowable | 
SCL 1 | Lid knuckle | 48.94 | 160.8 | 255.77 | 321.6 | Acceptable
SCL 2 | Shell knuckle | 80.914 | 160.8 | 291.49 | 321.6 | Acceptable
SCL 3 | Lid cross-section | 119.5 | 160.8 | 232.04 | 321.6 | Acceptable
SCL 4 | Shell cross-section | 132.64 | 160.8 | 150.78 | 321.6 | Acceptable